## Slide 1: Computation of vascular metrics longitudinally rely on multiple factors
Accuracy and repeatability of:
  Vascular segmentation
  3D volume of interest definition
Automatic
Manual
Manual – semi-automatic
Automatic
Nader Allam
(See Tissue Masking cartoon file)

## Slide 2: Automatic tumour segmentation via texture analysis
① Tilt correction+ glass removal
② Depth attenuation compensation
③ Sliding window gamma fit
④Thresholding of Tumour mask
2
Demidov V et al, “Quantitative speckle analysis for automatic tumor delineation and assessment of its early response to radiotherapy with optical coherence tomography”. Optica. (2021)
Nader Allam
Notes: Plot C shows that accurate separation between tumour and surrounding tissue best with theta not k

## Slide 3
Nader Allam
Allam N et al, “Longitudinal In-Vivo Quantification of Tumour Microvascular Heterogeneity by Optical Coherence Angiography in Pre-Clinical Radiation Therapy,” Sci Rep. (2022)
Distance to nearest vessel histogram
Post-processing
Creation of tumour mask
Denoising & Vessel segmentation
OCT data speckle-variance (sv) pre-processing
Fluorescence
Brightfield
Input
x
y
x
y
3D Binarized microvasculature
(en-face view)
3D “Raw” svOCT
(en-face max intensity projection)
(b)
-z
y
x
Tissue >
3D Euclidean distance transform
Vessels
Tissue <
(a)
(c)
(d)
-1.0 mm
0.0 mm
-0.5 mm
Depth [mm]
3D OCT
-z
x
y
λ
(e)
DLF150

## Slide 4: Coarse-processing
Morphological opening/closing
2D Median filtering
Deshadowing then rescaling + 2nd median filter
Depth-decaying Threshold
Binarization
Upscaling
4
Slide created by Blake Jones
Modified by Nader Allam
Notes: Can avoid guessing attenuation coefficient by using some value per A-scan– based on known intensity at surface vs intensity at depth and fitting a mu_net for the given A-scan
Small motion such as animal heartbeat can cause artifacts in svOCT images. These artifacts
often manifest as thin, single-pixel-width lines in the B-scan (y) direction. In the x-z plane, they
appear as bright pixels in dark regions (salt noise). These artifacts were eliminated by applying
morphological opening followed by morphological closing in each B-scan in the x-z direction
Morphological operators compare each pixel to the surrounding pixels in the
neighbourhood, where the neighbourhood is defined by the size and shape of a structuring element.
A 2D circular structuring element with a radius of one pixel was used under the assumption that
most vessels have approximately circular cross sections. Morphological opening consists of
erosion (reduction of boundaries of regions of foreground pixels) followed by dilation
(enlargement of boundaries of foreground pixels). This effect of this filter is the removal ‘salt’
noise smaller than the radius of the structuring element, i.e. single bright pixel regions in
background areas, such as the motion artifacts described above. Closing is the complement of
opening (dilation followed by erosion) and is used to eliminate ‘pepper’ noise, for example small
dark pixel regions within a vessel [52]. The use of a disk-shaped structuring element also reduced
some vessel surface irregularities and made the vascular cross sections more circular. A
Upscalling to allow for deshadowing

## Slide 5
Regions of ↓SNR
Zhang Y et al. “Automatic 3D adaptive vessel segmentation based on linear relationship between intensity and complex-decorrelation in optical coherence tomography angiography”. Quant Imaging Med Surg. (2021)
  Goal: Fit to plot of ID space (iSNR-D) per B-scan
BISIM quantifies confidence in
Nader Allam
Notes:  asymptotically (with probability of convergence 1)
is the value of decorrelation vs iSNR considered to be threshold between vessel and non-vessel
is the slope fit
Need small enough VOI to be locally adaptive but also large enough
𝑎.𝑠. asymptotically (with probability of convergence 1)
𝐷_𝑡ℎ𝑟𝑒𝑠 is the value of decorrelation vs iSNR considered to be threshold between vessel and non-vessel
𝛼_𝑡ℎ𝑟𝑒𝑠 is the slope fit
Need small enough VOI to be locally adaptive but also large enough

## Slide 6
Pre-processed OCT derived vascular map
mm
mm
mm
mm
mm
mm
Top
Bottom: project down to a fixed depth ~650
Creating a TPx 3D tumour mask
2D Co-registration
Aligned target image for tumour contouring, en-face
svOCT
Brightfield
Tumour contouring, axially via stOCT
3D Co-registration TPx to TP0-
Window:
Tissue:
(From TP0-)
Fluorescence
6
Nader Allam
Notes: Very rough contour segmenting based on white light or
Affine transform (not only rigid
Do not over explain! Especially the tree
Rigid transform no scaling since same FOV (not affine non-similarity allowing scaling)

## Slide 7
Nader Allam

## Slide 8
Nader Allam

## Slide 9
TP0-
TPx
Nader Allam

## Slide 10: Longitudinal optical images analysis algorithm: speed and standardization
2D lateral mask creation and co-registration;
Quantification of fluorescence intensity and approximate volume;
3D co-registration of OCT scans inter-timepoints ;
3D tumour mask creation.
3D vascular segmentation (manual for now)
Semi-automatic 2D lateral mask creation and co-registration from brightfield and fluorescence images
Quantification of fluorescence intensity and approximate volume;
3D co-registration of OCT scans inter-timepoints ;
3D tumour mask creation.
3D vascular segmentation (manual for now)
Mask creation slides after this
At the end show window chamber improvements to protect against perturbation
All this after Dlf work when I mention potential issues
SBRT march-June 2021 study:
Method shows promise
< 25-30min
Pre-requisite for:
Adaptive RTx experiments
Inter-modality comparison (especially immunohistochemistry)
Time series analysis
10
Nader Allam
Notes: All important towards being able to eventually acquire a lot of data and have it inter-comparable and possibly when we will start adapting treatment inter-fraction (process data within the hour prior to irradiation)

## Slide 11: Consistency of caliper to stOCT + brightfield/fluorescence semi-auto methods
3x12Gy mice
Control mice
Chart: L0R1 Normalized tumour size
| Day14Apr2021' | Day15Apr2021' | Day16Apr2021' | Day17Apr2021' | Day19Apr2021' | Day20Apr2021' | Day22Apr2021' | Day24Apr2021' | Day27Apr2021' | Day29Apr2021' | Day03May2021' | Day06May2021' | Day10May2021' | Day14May2021' | Day17May2021' | Day21May2021' | Day25May2021'
OCT | 1 | 0.96585 | 1.0631 | 0.89379 | 0.92825 | 0.93577 | 0.95006 | 1.0861 | 0.93865 | 0.87118 | 0.767 | 0.83236 | 0.82814 | 0.72154 | 0.73738 | 0.70348 | 0.76682
Caliper | 1 | 0.94334 | 0.90954 | 0.96557 | 0.96428 | 1.0368 | 1.1255 | 1.0201 | 0.96918 | 0.90445 | 0.92093 | 0.87363 | 0.77845 | 0.79329 | 0.73887 | 0.77857
Chart: L1R1 normalized tumour size
wOCT | 1 | 0.65883 | 0.61258 | 0.96922 | 1.1394 | 0.6464 | 0.68687 | 0.58866 | 0.46459 | 0.62215 | 0.96189 | 0.94501 | 1.1434 | 1.3214
wCaliper | 1 | 0.60232 | 0.60826 | 0.8454 | 1.0029 | 0.55544 | 0.55689 | 0.47234 | 0.35659 | 0.48867 | 0.82373 | 0.76929 | 0.88702 | 0.95789
Algorithm and DAQ by Allam N, implementation by van der Pol L
BxPC3 tumours in DSWC
Chart: L0R4 normalized tumour size
| Day14Apr2021' | Day15Apr2021' | Day16Apr2021' | Day17Apr2021' | Day19Apr2021' | Day22Apr2021' | Day24Apr2021' | Day27Apr2021' | Day29Apr2021' | Day03May2021' | Day06May2021' | Day10May2021' | Day14May2021' | Day17May2021' | Day21May2021' | Day25May2021'
L0R4 OCT | 1 | 1.0548 | 0.85908 | 0.86297 | 0.89127 | 0.63971 | 0.7859 | 0.71293 | 0.70915 | 0.73331 | 0.67962 | 0.8037 | 0.75055 | 0.74836 | 0.72038
L0R4 Caliper | 1 | 1.3553 | 1.152 | 1.1684 | 1.2139 | 1.1642 | 1.1897 | 1.1359 | 1.2279 | 1.2199 | 1.1775 | 1.1382 | 1.0281
Chart: L0R3 normalized tumour size
| Day14Apr2021' | Day15Apr2021' | Day16Apr2021' | Day17Apr2021' | Day19Apr2021' | Day22Apr2021' | Day24Apr2021' | Day27Apr2021' | Day29Apr2021' | Day03May2021' | Day06May2021' | Day10May2021'
wOCT | 1 | 1.5247 | 1.4808 | 1.184 | 1.1256 | 1.0367 | 1.0631 | 0.99134 | 0.95505 | 0.86101
wCaliper | 1 | 1.2316 | 1.1438 | 0.99338 | 0.98315 | 0.91171 | 0.93811 | 0.859 | 0.8265 | 0.77384
Nader Allam

## Slide 12: Tissue masking algorithm overview
if glass_1_Tissue_2_both_3_contour==3
%% Loading glass removed files
%loading of glass removed struct, raw and bin here
load(fullfile(saveFolder{1},'RawStruct_UnCoregTime0-_RotShift.mat'));%,'StOCT_UnCoregT0_RotatedShifted','-v7.3');
load(fullfile(saveFolder{1},'RawVess_UnCoregTime0-_RotShift.mat'));%,'RawOCTA_UnCoregT0_RotatedShifted','-v7.3');
if BinVesselsApplicable==1
load(fullfile(saveFolder{1},'BinVess_UnCoregTime0-_RotShift.mat'));%,'BinOCTA_UnCoregT0_RotatedShifted','-v7.3');
end
end%previously deleted for memory
Just tissue contour (no rotations to exclude glass and no co-registration in depth to timepoint 0) and lateral coregister to timepoint 0)
Glass removal + tissue contour
Glass removal
Apply TPx tissue mask to OCT scan volume
Co-register to TP0
Apply TPx tissue mask to OCT scan volume
Glass removal
Co-register All to TP0*
TP0-: Reference timepoint
TPx: Other timepoints
glass_1_Tissue_2_both_3_contour
1
2
3
DSWC removal (rotate to exclude window)
Co-register all TPx to TP0- both lateral and in depth*
OnlyTissueLabelTimepoint0
1
0
DSWC removal
Co-register TPx to TP0-
Apply TP0- tissue mask
DSWC removal
Apply TPx tissue mask
Co-register TPx to TP0- *
*: For easier timeseries neural network training
OnlyTissueLabelTimepoint0
1
0
Apply TPx tissue mask
Co-register TPx OCT scan volume to TP0- laterally
Co-register TPx laterally
Apply TP0- tissue mask
tissue mask not co-registered in depth
OnlyTissueLabelTimepoint0
Tissue contour for
0) each individual timepoint
1) All base off timepoint 0
glass_1_Tissue_2_both_3_contour
Contouring of:
1) DSWC window, 2) tissue or 3) both
TP0-: Reference timepoint
TPx: Other timepoints
Nader Allam

## Slide 13: Tissue masking algorithm overview
glass_1_Tissue_2_both_3_contour
1
2
3
DSWC removal (rotate to exclude window)
Co-register all TPx to TP0- both lateral and in depth*
OnlyTissueLabelTimepoint0
1
0
DSWC removal
Co-register TPx to TP0-
Apply TP0- tissue mask
DSWC removal
Apply TPx tissue mask
Co-register TPx to TP0- *
*: For easier timeseries neural network training
OnlyTissueLabelTimepoint0
1
0
Apply TPx tissue mask
Co-register TPx OCT scan volume to TP0- laterally
Co-register TPx laterally
Apply TP0- tissue mask
tissue mask not co-registered in depth
OnlyTissueLabelTimepoint0
Tissue contour for
0) each individual timepoint
1) All base off timepoint 0
glass_1_Tissue_2_both_3_contour
Contouring of:
1) DSWC window, 2) tissue or 3) both
TP0-: Reference timepoint
TPx: Other timepoints
TP0-: Reference timepoint
TPx: Other timepoints
Nader Allam

## Slide 14: Next steps

## Slide 15: Tissue masking algorithm overview (next step)
if glass_1_Tissue_2_both_3_contour==3
%% Loading glass removed files
%loading of glass removed struct, raw and bin here
load(fullfile(saveFolder{1},'RawStruct_UnCoregTime0-_RotShift.mat'));%,'StOCT_UnCoregT0_RotatedShifted','-v7.3');
load(fullfile(saveFolder{1},'RawVess_UnCoregTime0-_RotShift.mat'));%,'RawOCTA_UnCoregT0_RotatedShifted','-v7.3');
if BinVesselsApplicable==1
load(fullfile(saveFolder{1},'BinVess_UnCoregTime0-_RotShift.mat'));%,'BinOCTA_UnCoregT0_RotatedShifted','-v7.3');
end
end%previously deleted for memory
Just tissue contour (no rotations to exclude glass and no co-registration in depth to timepoint 0) and lateral coregister to timepoint 0)
Glass removal + tissue contour
Glass removal
Apply TPx tissue mask to OCT scan volume
Co-register to TP0
Apply TPx tissue mask to OCT scan volume
Glass removal
Co-register All to TP0*
glass_1_Tissue_2_both_3_contour
1
2
3
DSWC removal (rotate to exclude window)
Co-register all TPx to TP0- both lateral and in depth*
OnlyTissueLabelTimepoint0
1
0
DSWC removal
Co-register TPx to TP0-
Apply TP0- tissue mask
DSWC removal
Co-register TPx to TP0- *
Apply TPx tissue mask
*: For easier timeseries neural network training
OnlyTissueLabelTimepoint0
1
0
Co-register TPx OCT scan volume to TP0- laterally
Apply TPx tissue mask
Co-register TPx laterally
Apply TP0- tissue mask
tissue mask not co-registered in depth
OnlyTissueLabelTimepoint0
Tissue contour for
0) each individual timepoint
1) All base off timepoint 0
glass_1_Tissue_2_both_3_contour
Contouring of:
1) DSWC window, 2) tissue or 3) both
TP0-: Reference timepoint
TPx: Other timepoints
(To help assess quality of TPx mask during creation)
Nader Allam

## Slide 16: Automatic glass delineation and inter-frame co-registration
(DSWC window line detection)
x, width [pix]
z, depth [pix]
Edge filtering & binarization
Thresholding and superposition
In practice
Nader Allam

## Slide 17
Nader Allam

## Slide 18: Automatic Vessel segmentation pipeline with accuracy quantification
Regions of ↓SNR
Zhang Y et al. “Automatic 3D adaptive vessel segmentation based on linear relationship between intensity and complex-decorrelation in optical coherence tomography angiography”. Quant Imaging Med Surg. (2021)
  Goal: Fit to plot of ID space (iSNR-D) per B-scan
BISIM quantifies confidence in
Nader Allam
Notes:  asymptotically (with probability of convergence 1)
is the value of decorrelation vs iSNR considered to be threshold between vessel and non-vessel
is the slope fit
Need small enough VOI to be locally adaptive but also large enough
𝑎.𝑠. asymptotically (with probability of convergence 1)
𝐷_𝑡ℎ𝑟𝑒𝑠 is the value of decorrelation vs iSNR considered to be threshold between vessel and non-vessel
𝛼_𝑡ℎ𝑟𝑒𝑠 is the slope fit
Need small enough VOI to be locally adaptive but also large enough

## Slide 19: Automatic Vessel segmentation pipeline with accuracy quantification
From Huang et al. : &
  for considered VOI
Fit
per B-scan*
BISIM quantifies confidence in
19
Regions of ↓SNR
  to plot of ID space (iSNR-D)
*Later at multiple 2D ROIs per y-step
Huang et al. “SNR-Adaptive OCT Angiography Enabled by Statistical Characterization of Intensity and Decorrelation With Multi-Variate Time Series Model”. IEEE Trans Med Imaging. (2019)
Zhang Y et al. “Automatic 3D adaptive vessel segmentation based on linear relationship between intensity and complex-decorrelation in optical coherence tomography angiography”. Quant Imaging Med Surg. (2021)
Notes:  asymptotically (with probability of convergence 1)
is the value of decorrelation vs iSNR considered to be threshold between vessel and non-vessel
is the slope fit
Need small enough VOI to be locally adaptive but also large enough
𝑎.𝑠. asymptotically (with probability of convergence 1)
𝐷_𝑡ℎ𝑟𝑒𝑠 is the value of decorrelation vs iSNR considered to be threshold between vessel and non-vessel
𝛼_𝑡ℎ𝑟𝑒𝑠 is the slope fit
Need small enough VOI to be locally adaptive but also large enough

## Slide 20
Huang et al.

## Slide 21: Processing description
Complex decorrelation OCT improved SNR for blood flow vs svOCT
Optimization of per B-scan, y (iteratively)
  Compute iSNR adaptive
  Compute structural vectors at all (z,x) vs
  Distinguish classes of motion through minimization of BISIM() *:
    , blood flow signal
    , blood flow + static tissue signal
    , blood flow + static tissue + noise signal
      *Intra-class variation should be minimal
Nam AS et al. “Complex differential variance algorithm for optical coherence tomography angiography.” Biomed Opt Express. (2014)
Zhang Y et al. “Automatic 3D adaptive vessel segmentation based on linear relationship between intensity and complex-decorrelation in optical coherence tomography angiography”. Quant Imaging Med Surg. (2021)
21

## Slide 23: CDV-OCT vs SV-OCT
Notes: complex differential variance

## Slide 24: CDV-OCT M=2 vs M=8
Notes: complex differential variance

## Slide 25: Need for iSNR rescalling
iSNR distribution
“Binarized vasculature map”
ID-BISIM algorithm
For arbitrarily chosen B-scan:
counts
iSNR range
Depth [mm]
0
2.2
9
width [mm]
ID-BISIM algorithm
counts
iSNR range
Depth [mm]
0
2.2
9
width [mm]
Pre-rescalling
Preliminary attempts at rescalling
Notes: iSNR was never high enough such that with different alpha will necessarily ever have threshold of D higher then D computed at given voxel even when take median to rescale alpha range

## Slide 26
Notes: With rescalling, Frame of decorthreshold related through cot of angle * iSNR value at each voxel
D3D obtains threshold from Frame of decorthreshold to give vessels

## Slide 27
Notes: With rescalling, Frame of decorthreshold related through cot of angle * iSNR value at each voxel
D3D obtains threshold from Frame of decorthreshold to give vessels