## Slide 1: Semi-auto volume of interest (VOI) definition
Nader Allam
Notes: Biggest initial issue is identifying tumour tissue so at the very least

## Slide 2: Difficulty identifying tumour tissue manually
Important for comparability longitudinally
Rely on clear interfaces
Sometimes multiple interfaces?
  Porous avascular layer exudate
2
Nader Allam
Notes: (remove all above first interface if no clear )

## Slide 3
Tracing position along binarized svOCT
Overlay of binarized svOCT on aligned stOCT for contouring of considered B-scan
Brightfield/fluorescence image
Contouring of corresponding B-scan from near timepoint
stOCT of considered B-scan
To reduce inter-timepoint variability
3
Nader Allam
Notes: This will have an even simpler implementation with the automati positioning setup, as FOV identical and coregistered from the start (no need to try to manually position every time and try to replicate FOV)

## Slide 4: Window contouring instead
4
Nader Allam

## Slide 5
Mask definition methods (analysis to fixed depth):
Cylindrical projection of 2D lateral contour
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Glass interface contour in depth at each TP + Method 1
Method 1+3 + cropping down to level of most superficial vessel based on TP0-
Method 1+3 + cropping down to co-registered TP0- tissue interface
Accuracy
Repeatability
Fluorescence / brightfield image reference
5
Nader Allam

## Slide 6
Mask definition methods (analysis to fixed depth):
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Glass interface contour in depth at each TP + Method 1
Method 1+3 + cropping down to level of most superficial vessel based on TP0-
Method 1+3 + cropping down to co-registered TP0- tissue interface
Accuracy
Repeatability
Fluorescence / brightfield image reference
6
Nader Allam

## Slide 7
Mask definition methods:
Cylindrical projection of 2D lateral contour
DSWC interface contour in depth at each TP + Method 1
Tissue interface contour in depth at each TP + Method 1
Accuracy
Repeatability
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Glass interface contour in depth at each TP + Method 1
Method 1+3 + cropping down to level of most superficial vessel based on TP0-
Method 1+3 + cropping down to co-registered TP0- tissue interface
7

## Slide 8
Mask definition methods:
Cylindrical projection of 2D lateral contour
DSWC interface contour in depth at each TP + Method 1
Tissue interface contour in depth at each TP + Method 1
Accuracy
Repeatability
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Glass interface contour in depth at each TP + Method 1
Method 1+3 + cropping down to level of most superficial vessel based on TP0-
Method 1+3 + cropping down to co-registered TP0- tissue interface
8

## Slide 9
Mask definition methods:
Cylindrical projection of 2D lateral contour
DSWC interface contour in depth at each TP + Method 1
Method 1+2 + cropping down to level of most superficial vessel based on TP0-
Tissue interface contour in depth at each TP + Method 1
Accuracy
Repeatability
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Glass interface contour in depth at each TP + Method 1
Method 1+3 + cropping down to level of most superficial vessel based on TP0-
Method 1+3 + cropping down to co-registered TP0- tissue interface
9

## Slide 10
Mask definition methods:
Cylindrical projection of 2D lateral contour
DSWC interface contour in depth at each TP + Method 1
Method 1+2 + cropping down to level of most superficial vessel based on TP0-
Method 1+2 + cropping down to co-registered TP0- tissue interface
Tissue interface contour in depth at each TP + Method 1
Accuracy
Repeatability
Cylindrical projection of 2D lateral contour
Tissue interface contour in depth at each TP + Method 1
Glass interface contour in depth at each TP + Method 1
Method 1+3 + cropping down to level of most superficial vessel based on TP0-
Method 1+3 + cropping down to co-registered TP0- tissue interface
10
Notes: Must still crop out glass for co-registration to TP0

## Slide 11: Current tissue masking method (4)
Fluorescence / brightfield image reference
Transversely:
Otsu’s method or manual trace
11
Nader Allam

## Slide 12: Current tissue masking method (4)
(“General” DSWC-tissue gap 3D shape)
Timepoint (TP) 0-
days
Legend
: Air
: DSWC (Window)
: Extravascular tissue
: Blood vessels
: Exudate
DSWC-tissue gap
(TP0- Tissue mask)
“General” DSWC-tissue gap 3D shape
(TP0- DSWC mask)
~ TPx tissue mask
(TPx DSWC mask co-registered in 3D to TP0-)
In Depth:
Timepoint (TP) x
Nader Allam